## OPS
Longitude | Latitude | Country | Name | TEN-T | Number of berths with OPS | Vessel type | Voltage | Voltage level | Max Power (MW) | Max Power (MVA) | Frequency | Standard | Operational | Location detail | Comments | URL | Contact | Port type
4.2939 | 51.311 | Belgium | Antwerpen | Core | 42 | Containership | 6.6 | High Voltage | 0.8 |  | AC (50Hz or 60Hz) |  | 2023 |  | Source: Binnen Vaart Services | https://www.binnenvaartservices.be/nl/walstroom |  | Maritime and Inland Waterways
3.78013950029161 | 51.1326864988654 | Belgium | Gent | Core | 6 |  | 0.4 | [8 empty] | https://www.binnenvaartservices.be/en/shore-power |  | Maritime and Inland Waterways
3.1971 | 51.329 | Belgium | Zeebrugge | Core | 1 | RO-RO/PAX | 6.6 | High Voltage | 1.25 |  | AC (50Hz or 60Hz) |  | 2006 |  |  |  |  | Maritime
11.090 | 55.677 | Denmark | Kalundborg | Comprehensive | 22 | All ships (small) | 0.4 | Low Voltage | 0.065 | 63-125A | [7 empty] | Maritime
8.4507 | 55.461 | Denmark | Esbjerg | Comprehensive | 4 | OSV/Special Service | 0,400/0,440/0,690 | Low Voltage | 0.69 |  |  |  | 2021 | Quai 504/505 |  |  |  | Maritime
8.4503 | 55.459 | Denmark | Esbjerg | Comprehensive | 4 | OSV/Special Service | 0,400/0,440/0,690 | Low Voltage | 0.69 |  |  |  | 2021 | Quai 506/507 |  |  |  | Maritime
8.4500 | 55.458 | Denmark | Esbjerg | Comprehensive | 4 | OSV/Special Service | 0,400/0,440/0,690 | Low Voltage | 0.69 |  |  |  | 2021 | Quai 508/509 |  |  |  | Maritime
8.4123 | 55.476 | Denmark | Esbjerg | Comprehensive | 3 | OSV/Special Service | 0.69 | Low Voltage | 0.828 |  |  |  | 2021 | Quai 85 |  |  |  | Maritime
10.2151109998494 | 56.1546199992135 | Denmark | Aarhus | Core | 2 |  | 6,6; 11 | High Voltage | 10 | 16 | AC (50Hz or 60Hz) | IEC/IEEE80005-1 | 2023 |  | Pier 129 | https://www.cruisebaltic.com/allportinfo?port=1337 |  | Maritime
10.542 | 57.441 | Denmark | Frederikshavn | Comprehensive | 1 | OSV/Special Service |  | High Voltage | 4.48 |  |  |  | 2016 | Navy port |  | https://pof.dk/new-pier.aspx |  | Maritime
12.593 | 55.701 | Denmark | København | Core | 1 | Ferries and cruise ship | [6 empty] | 2021 |  |  |  |  | Maritime
14.692 | 55.099 | Denmark | Ronne | Comprehensive | 1 |  |  |  |  | 0.4 | [7 empty] | Maritime
12.195 | 55.455 | Denmark | Koge | Comprehensive | 1 | All ships |  | Low Voltage |  | 10-125A | [7 empty] | Maritime
9.969 | 57.593 | Denmark | Hirtshals | Comprehensive | 1 | Small ships |  | Low Voltage |  | 63-125A |  |  | 2019 |  |  |  |  | Maritime
9.7500 | 55.5833 | Denmark | Fredericia | Comprehensive | 1 | Small-Medium ships |  | Low Voltage |  | 63-125A |  |  |  |  | ADP A/S Ports of Fredericia-Nyborg Looking at the possibilities of shore power to RO-RO |  |  | Maritime
8.467409 | 55.450607 | Denmark | Esbjerg | Comprehensive | 1 | OSV/Special Service | 0.4 | Low Voltage | 0.2 |  |  |  | 2020 | Quai 719 |  |  |  | Maritime
8.4674 | 55.450 | Denmark | Esbjerg | Comprehensive | 1 | OSV/Special Service | 0.4 | Low Voltage | 0.2 |  |  |  | 2020 | Quai 719 |  |  |  | Maritime
8.4693 | 55.450 | Denmark | Esbjerg | Comprehensive | 1 | OSV/Special Service | 0.4 | Low Voltage | 0.2 |  |  |  | 2020 | Quai 720 |  |  |  | Maritime
12.614 | 56.034 | Denmark | Helsingor | Comprehensive | 1 | Ferries | 11 | High Voltage | 4.5 |  |  |  | 2018 | Ferry terminal | 640 batteries of 6.5 kWh. |  |  | Maritime
59.444 | 24.762 | Estonia | Tallinn Old City Harbour | Core | 10 | RO-RO/PAX | 0.4 | Low Voltage | 0.6 |  |  |  |  | Old City Harbour |  |  |  | Maritime
59.46 | 24.71 | Estonia | Tallinn Paljarsaare Harbour | Core | 8 | RO-RO/PAX | 0.4 | Low Voltage | 0.8 |  |  |  |  | Paljarsaare Harbour |  |  |  | Maritime
59.46 | 24.476 | Estonia | Tallinn Paljarsaare Harbour | Core | 1 | Tankers | 0.4 | Low Voltage | 0.14 |  |  |  |  | Paljarsaare Harbour |  |  |  | Maritime
24.958 | 60.161 | Finland | Helsinki | Core | 6 | OSV/Special Service | 0.4 | Low Voltage | 0.175 | [8 empty] | Maritime
24.958 | 60.161 | Finland | Helsinki | Core | 4 | RO-RO/PAX | 0.4 | Low Voltage | 0.175 | [8 empty] | Maritime
25.421 | 64.993 | Finland | Oulu | Comprehensive | 1 | RO-RO/PAX | 6.6 | High Voltage |  |  |  |  | 2008 |  |  |  |  | Maritime
26.944717500282 | 60.4837784989778 | Finland | Kotka | Core | 1 | RO-RO/PAX | 6.6 | High Voltage |  |  | AC (50Hz) |  | 2012 |  |  |  |  | Maritime
24.566 | 65.733 | Finland | Kemi | Comprehensive | 1 | RO-RO/PAX | 6.6 | High Voltage |  |  |  |  | 2006 |  |  |  |  | Maritime
24.958 | 60.161 | Finland | Helsinki | Core | 1 | RO-RO/PAX |  | High Voltage |  |  |  |  | 2020 |  |  |  |  | Maritime
5.3603 | 43.299 | France | Marseille | Core | 3 | RO-RO/PAX | 11 | High Voltage | 1.44 |  |  |  | 2015 | La Joliette |  |  |  | Maritime
0.1319 | 49.492 | France | Le havre | Core | 2 | Containership | 0,41; 0,23 | Low Voltage | 0.05 |  |  |  | 2018 | Terminal Multimodal |  |  |  | Maritime and Inland Waterways
1.0395 | 49.441 | France | Rouen | Core | 2 | Containership | 0,41; 0,23 | Low Voltage | 0.05 |  |  |  | 2018 | Quai Emile Duchemin |  |  |  | Maritime and Inland Waterways
0.1319 | 49.492 | France | Le havre | Core | 1 | Containership | 0,41; 0,23 | Low Voltage |  |  |  |  | 2018 | Tancarville ancienne écluse |  |  |  | Maritime and Inland Waterways
2.3690 | 51.032 | France | Dunkerque | Core | 1 | Containership | 6.6 | High Voltage | 6 |  |  |  | 2019 | Quai des Flandres |  |  |  | Maritime and Inland Waterways
10.1543329999521 | 54.3181959989253 | Germany | Kiel | Comprehensive | 3 | Cruise | 6,6; 10; 11 | High Voltage | 4.5 | 4,5; 5; 16 | AC (50Hz or 60Hz) | IEC NEC 80005-1 | 2019 | 3 locations: Ostseekai, Schwedenkai, Norwegenkai |  | https://www.portofkiel.com/blue-port-en/shore-power-facilities.html | https://www.portofkiel.com/contact-persons.html | Maritime
12.0840334995611 | 54.1216924988966 | Germany | Rostock | Core | 2 |  | 6,6; 11 | High Voltage | 20 | Maximum 16 kVA per berth |  | IEC/IEEE 80005-1 |  |  |  | https://www.cruisebaltic.com/allportinfo?port=1365 |  | Maritime
8.72346899972236 | 53.1137474993343 | Germany | Bremen | Core | 1 | [12 empty] | Maritime and Inland Waterways
8.71067549977144 | 53.8667919989679 | Germany | Cuxhaven | Comprehensive | 1 | RO-RO/PAX |  | Low Voltage |  | 0.63 | AC (50Hz or 60Hz) |  | 2018 |  | Available capacities may be restricted to specific berths | https://safety4sea.com/siemens-to-build-shore-power-supply-system-for-roros/ | cuxhaven@nports.de; info@cuxport.de | Maritime
9.95682999986353 | 53.5345924988897 | Germany | Hamburg | Core | 1 | Cruise | 6,6; 11 | High Voltage | 9.8 | 12 | AC (50Hz or 60Hz) |  | 2015 |  |  | https://static1.squarespace.com/static/6155b5bdada6ea1708c2c74d/t/63478b9ef58a440c1a1594d2/1665633188193/2021-05+Hamburg+Shore+Power+Projects.pdf |  | Maritime and Inland Waterways
10.6990315003486 | 53.8977379989798 | Germany | Luebeck |  | 1 |  | 6,6 kV |  | ? | [8 empty] | Maritime and Inland Waterways
13.508 | 43.618 | Italy | Ancona | Core | 2 | OSV/Special Service | 0,44; 0,69 | High Voltage | 1.6 |  |  |  | 2016 |  |  |  |  | Maritime
10.294 | 43.549 | Italy | Livorno | Core | 1 | Cruise |  |  |  |  | AC (50Hz or 60Hz) |  | 2015 |  | Available capacities may be restricted to specific berths | https://www.gemmo.com/nqcontent.cfm?a_id=280 |  | Maritime
8.90509699995769 | 44.4075414991859 | Italy | Genova | Core | 1 | Cruise | 10; 11 | High Voltage | 10 |  | AC (50Hz or 60Hz) | IEC8005-1 | 2019 |  |  | https://sustainableworldports.org/project/port-of-genoa-onshore-power-supply-to-vessels/ | davide.sciutto@portsofgenoa.com | Maritime
8.90509699995769 | 44.4075414991859 | Italy | Genova | Core | 1 | Cargo | 0.69 | Low Voltage | 5 |  | AC (50Hz or 60Hz) | IEC8005-1 | 2019 |  |  |  |  | Maritime
8.90509699995769 | 44.4075414991859 | Italy | Genova | Core | 1 | Ferries | 0,4; 0,44 | Low Voltage | 2 |  | AC (50Hz or 60Hz) | IEC8005-1 | 2019 |  |  |  |  | Maritime
21.547 | 57.397 | Latvia | Ventspils | Core | 23 |  | 0.4 | Low Voltage | 0.05 | [8 empty] | Maritime
24.094 | 56.959 | Latvia | Riga | Core | 2 | RO-RO/PAX | 10 | High Voltage | 0.5 | [8 empty] | Maritime
24.094 | 56.959 | Latvia | Riga | Core | 2 | Containership | 6.6 | High Voltage | 1.6 |  |  |  | 2014 | FreePort |  |  |  | Maritime
20.996 | 56.528 | Latvia | Liepaja | Comprehensive | 2 | RO-RO/PAX | 10 | High Voltage | 0.5 | [8 empty] | Maritime
21.128 | 55.708 | Lithuania | Klaipeda | Core | 5 | RO-RO/PAX | 0.4 | Low Voltage | 0.4 | [8 empty] | Maritime
21.128 | 55.708 | Lithuania | Klaipeda | Core | 1 | RO-RO/PAX | 0.4 | Low Voltage | 0.4 | [8 empty] | Maritime
21.128 | 55.708 | Lithuania | Klaipeda | Core | 1 | Tankers | 0.4 | Low Voltage | 0.015 | [8 empty] | Maritime
14.533 | 35.819 | Malta | Marsaxlokk | Core | 1 | LNG carrier | 6.6 | High Voltage | 2.4 |  |  |  | 2016 | Delimara |  |  |  | Maritime
4.884 | 52.398 | Netherlands | Amsterdam | Core | 24 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Haparandadam wachtsteiger |  |  |  | Maritime and Inland Waterways
4.936 | 52.377 | Netherlands | Amsterdam | Core | 12 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Sumatrakade binnenvaart |  |  |  | Maritime and Inland Waterways
4.946 | 52.377 | Netherlands | Amsterdam | Core | 12 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Surinamekade wachtplaats |  |  |  | Maritime and Inland Waterways
4.909 | 52.378 | Netherlands | Amsterdam | Core | 12 | Cruise Ships | 0.4 | Low Voltage | 2 |  |  |  | 2010 | Ruijterkade oost |  |  |  | Maritime and Inland Waterways
4.875 | 52.398 | Netherlands | Amsterdam | Core | 11 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Minervahaven wachtsteiger |  |  |  | Maritime and Inland Waterways
4.887 | 52.391 | Netherlands | Amsterdam | Core | 10 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | van Diemenstraat wachtsteiger |  |  |  | Maritime and Inland Waterways
4.895 | 52.382 | Netherlands | Amsterdam | Core | 10 | Cruise Ships | 0.4 | Low Voltage | 2.5 |  |  |  | 2010 | Ruijterkade west |  |  |  | Maritime and Inland Waterways
4.834 | 52.405 | Netherlands | Amsterdam | Core | 8 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Westhavenweg |  |  |  | Maritime and Inland Waterways
4.86 | 52.396 | Netherlands | Amsterdam | Core | 8 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Nieuwe Hemweg |  |  |  | Maritime and Inland Waterways
4.929 | 52.375 | Netherlands | Amsterdam | Core | 8 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Veemkade binnenvaart |  |  |  | Maritime and Inland Waterways
4.8182 | 52.418 | Netherlands | Amsterdam | Core | 8 | Cruise | 0.4 | Low Voltage | 0.11 |  |  |  | 2020 | Center |  |  |  | Maritime and Inland Waterways
4.878 | 52.397 | Netherlands | Amsterdam | Core | 6 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Danzigerkade binnenvaart |  |  |  | Maritime and Inland Waterways
4.926 | 52.378 | Netherlands | Amsterdam | Core | 4 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | Javakade binnenvaart |  |  |  | Maritime and Inland Waterways
4.904 | 52.382 | Netherlands | Amsterdam | Core | 4 | Cruise Ships | 0.4 | Low Voltage | 0.165 |  |  |  | 2010 | Buiksloterweg |  |  |  | Maritime and Inland Waterways
4.91 | 52.381 | Netherlands | Amsterdam | Core | 2 | Containership | 0.4 | Low Voltage | 0.055 |  |  |  | 2010 | IJplein binnenvaart |  |  |  | Maritime and Inland Waterways
4.918 | 52.379 | Netherlands | Amsterdam | Core | 2 | Cruise Ships | 0.4 | Low Voltage | 1 |  |  |  | 2010 | Java-eiland |  |  |  | Maritime and Inland Waterways
4.893 | 52.386 | Netherlands | Amsterdam | Core | 2 | Cruise Ships | 0.4 | Low Voltage | 2 |  |  |  | 2010 | Westerdoksdijk |  |  |  | Maritime and Inland Waterways
4.5000 | 51.916 | Netherlands | Rotterdam | Core | 2 | RO-RO/PAX | 11 | High Voltage |  | 2.8 | AC (50Hz or 60Hz) |  | 2012 |  |  |  |  | Maritime and Inland Waterways
29.725 | 70.629 | Norway | Båtsfjord |  | 44 |  | 0,400; 0,440; 0,690; | Low Voltage | 2.8 |  |  |  | 2019 |  | Fishing vessel, general cargo, refrigerated ships |  |  | Maritime
7.0444 | 58.116 | Norway | Lyngdal |  | 12 | OSV/Special Service | 0,400; 6,90 | Low Voltage | 1.1 |  |  |  |  | Holmsundet port facility | Offshore supply vessels, car carriers |  |  | Maritime
18.991 | 69.678 | Norway | Tromsø |  | 12 | RO-RO/PAX | 0,400; 0,690; | Low Voltage |  |  |  |  | 2017 | Breivika havneterminal | Cargo vessels and fishing vessels |  |  | Maritime
5.33 | 22007 | Norway | Bergen | Comprehensive | 9 |  | 6,6; 11 | High Voltage | 12.8 |  |  |  | 2021 | Skolten, Bontelabo | Cruise ships |  |  | Maritime
5.0706 | 61.612 | Norway | Florø |  | 9 |  | 0,400; 0,440; 0,480; 0,600; 660, 0,690; | Low Voltage | 1 |  |  |  | 2020 | Fjord Base | Offshore supply vessels, cargo vessels |  |  | Maritime
5.0314 | 60.859 | Norway | Gulen |  | 9 |  | 0,400; 0,690; 11000 | Low and High Voltage | 2 |  |  |  | 2019 | Skipavika | Mobile platforms, offshore service ships |  |  | Maritime
5.2975 | 59.338 | Norway | Karmøy |  | 9 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2011 | Husøy Offshore Base | Offshore supply vessels, cargo vessels |  |  | Maritime
14.116 | 66.306 | Norway | Mo i Rana | Comprehensive | 8 | RO-RO/PAX | 0,400; 0,440; 0,480; 660 | Low Voltage |  |  |  |  | 2018 | Rana Industriterminal | Cargo vessels |  |  | Maritime
5.2577 | 59.412 | Norway | Haugesund |  | 7 | Cruise | 0,400; 0,440; 0,460; 0,690; | Low Voltage | 0.8 |  |  |  | 2019 | Garpeskjær | Passenger vessels |  |  | Maritime
5.6663 | 58.999 | Norway | Stavanger | Comprehensive | 7 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | NorSea Dusavik | Offshore supply vessels and offshore service ships |  |  | Maritime
5.9850 | 58.443 | Norway | Egersund |  | 6 |  | 0,400; 0,440; 0,480; 660, 0,690; | Low Voltage |  |  |  |  | 2019 | Kaupanes | Fishing vessels, general cargo |  |  | Maritime
23.664 | 70.668 | Norway | Hammerfest | Comprehensive | 6 | OSV/Special Service | 0,400; 0,440; 0,690; | Low Voltage |  |  |  |  | 2019 | Fuglenesterminalen | Cargo vessels, offshore supply vessels, fishing vessels |  |  | Maritime
5.2681 | 59.818 | Norway | Rubbestadneset, Bømlo |  | 6 |  | 0,440; 6,90 | Low Voltage |  |  |  |  | 2017 | LOS Marine | Yard |  |  | Maritime
6.1559 | 62.469 | Norway | Ålesund |  | 5 | OSV/Special Service | 0,400; 0,440; 0,690; | Low Voltage | 0.8 |  |  |  | 2018 | Storneskaia | Passenger vessels, research vessels, fishing vessels |  |  | Maritime
23.664 | 70.635 | Norway | Hammerfest | Comprehensive | 5 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | Polarbase | Offshore supply vessels |  |  | Maritime
16.595 | 68.779 | Norway | Harstad |  | 5 | OSV/Special Service | 0,400; 0,440; 0,690; | Low Voltage | 1 |  |  |  |  | Stangnes | Cargo vessels, fishing vessels, offshore supply vessels |  |  | Maritime
7.7333 | 63.109 | Norway | Kristiansund | Comprehensive | 4 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2018 | Storkaia | Offshore supply vessels |  |  | Maritime
10.708 | 59.908 | Norway | Oslo | Core | 4 | Cruise | 11 | High Voltage | 4.5 |  |  |  | 2011 | Hjortnes port facility | Passenger vessels |  |  | Maritime
10.743 | 59.903 | Norway | Oslo | Core | 4 | Cruise | 11 | High Voltage |  |  |  |  | 2019 | Vippetangen | Passenger vessels |  |  | Maritime
5.0162 | 60.414 | Norway | Ågotnes |  | 3 | OSV/Special Service | 0,400; 0,440; 0,690; | Low Voltage | 1.4 |  |  |  | 2016 | CCB Ågotnes | Mobile platforms, offshore supply vessels and offshore service ships |  |  | Maritime
8.7707 | 58.458 | Norway | Arendal |  | 3 |  | 0,400; 0,690; | Low Voltage |  |  |  |  | 2019 | City centre | Fishing vessel, passenger |  |  | Maritime
5.0992 | 60.442 | Norway | Askøy |  | 3 |  | 0,400; 0,440; 0,600; 0,690; | Low Voltage |  |  |  |  | 2017 | Semco Maritime Hanøytangen | Mobile platforms, offshore service ships |  |  | Maritime
7.6679 | 63.075 | Norway | Averøy |  | 3 |  | 0,400; 0,440; 0,690; 11 000 | Low and High Voltage |  |  |  |  | 2016 | Averøy Industripark | Mobile platforms, offshore service ships |  |  | Maritime
7.7812 | 63.103 | Norway | Kristiansund | Comprehensive | 3 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2018 | Vestbase | Offshore supply vessels |  |  | Maritime
5.5877 | 58.928 | Norway | Risavika |  | 3 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | NorSea Tananger | Offshore supply vessels and offshore service ships |  |  | Maritime
5.6002 | 58.924 | Norway | Risavika |  | 3 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | Risavika offshoreterminal | Offshore supply vessels and cargo vessels |  |  | Maritime
8.8771 | 58.495 | Norway | Arendal |  | 2 |  | 0,440; 6,90 | Low Voltage | 3.6 |  |  |  | 2017 | Eydehavn | Cargo vessels, mobile platforms |  |  | Maritime
9.6947 | 59.062 | Norway | Brevik |  | 2 |  | 0,400; 0,440; | Low Voltage | 1.2 |  |  |  | 2019 | Norcem Brevik | General cargo, dry bulk |  |  | Maritime
9.6994 | 59.065 | Norway | Brevik |  | 2 |  | 0,400; 6,90 | Low Voltage |  |  |  |  | 2019 | Tangenkaia | Container ships, cargo vessels |  |  | Maritime
10.224 | 59.735 | Norway | Drammen |  | 2 |  | 0,400; 0,440; 0,690; | Low Voltage |  |  |  |  | 2020 | Holmen | Container ships, car carriers |  |  | Maritime
5.0497 | 61.603 | Norway | Florø |  | 2 |  | 0,400; 0,690; | Low Voltage | [5 empty] | Westcon Yards Florø | Yard |  |  | Maritime
5.0673 | 60.852 | Norway | Gulen |  | 2 |  | 0,440; 6,90 | Low Voltage | [5 empty] | Wergeland Base | Mobile platforms, offshore service ships |  |  | Maritime
5.7907 | 59.789 | Norway | Halsnøy |  | 2 |  | 0,400; 0,690; | Low Voltage |  |  |  |  | 2018 | Halsnøy Dokk | Yard |  |  | Maritime
7.9890 | 58.140 | Norway | Kristiansand | Comprehensive | 2 | Containership | 0,400; 0,690; | Low Voltage |  |  |  |  | 2015 | Container terminal | Container ships, cargo vessels, offshore supply vessels |  |  | Maritime
8.0383 | 58.157 | Norway | Kristiansand | Comprehensive | 2 | OSV/Special Service | 0,400; 6,90 | Low Voltage |  |  |  |  | 2020 | Kongsgård | Cargo vessels, offshore supply vessels, mobile platforms |  |  | Maritime
7.9857 | 58.143 | Norway | Kristiansand | Comprehensive | 2 | OSV/Special Service | 0,400; 6,90; 11 | Low and High Voltage |  |  |  |  | 2016 | Ferry terminal | Passenger vessels, offshore supply vessels |  |  | Maritime
5.2422 | 59.611 | Norway | Langevåg, Bømlo |  | 2 |  | 0,400; 6,90 | Low Voltage |  |  |  |  | 2017 | Bømlo Skipsservice AS | Yard |  |  | Maritime
5.3296 | 61.124 | Norway | Leirvik, Hyllestad |  | 2 |  | 0,400; 0,440; 0,690; | Low Voltage |  |  |  |  | 2017 | Havyard Ship Technology | Yard |  |  | Maritime
10.657 | 59.427 | Norway | Moss | Comprehensive | 2 | Containership | 0,400; 0,440; 0,690; | Low Voltage | 0.5 |  |  |  | 2019 | Moss havneterminal | Container ships, cargo vessels |  |  | Maritime
15.065 | 68.912 | Norway | Myre |  | 2 | RO-RO/PAX | 0,440; 6,90 | Low Voltage | [5 empty] | BioMar Myre | Fishing vessels, general cargo |  |  | Maritime
5.7649 | 59.605 | Norway | Ølen |  | 2 |  | 0,400; 0,440; 0,690; | Low Voltage | [5 empty] | Westcon Yard Ølen | Yard |  |  | Maritime
5.4973 | 59.763 | Norway | Stord |  | 2 |  | 0,380-0,690; | Low Voltage |  |  |  |  | 2017 | Kværner Stord | Yard |  |  | Maritime
5.4842 | 59.755 | Norway | Stord |  | 2 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2020 | NorSea Stordbase | Offshore supply vessels and offshore service ships |  |  | Maritime
10.406 | 63.441 | Norway | Trondheim | Comprehensive | 2 |  |  |  |  | 5 |  |  | 2021 |  |  | https://www.psw.no/news-and-media/eng-no-news/news-in-english/port-of-trondheim-is-expanding-its-shore-power-supply |  | Maritime
5.3110 | 60.392 | Norway | Bergen | Comprehensive | 1 |  | 6,6; 6,9 | Low Voltage |  |  |  |  | 2018 | Nøstekaien | Passenger vessels, cruise ships |  |  | Maritime
5.3144 | 60.398 | Norway | Bergen | Comprehensive | 1 |  | 0,400; 0,440; 0,690; | Low Voltage |  |  |  |  | 2019 | Nykirkekaien | Research vessels, offshore supply vessels |  |  | Maritime
5.3103 | 60.387 | Norway | Bergen | Comprehensive | 1 |  | 0,440; 6,90 | Low Voltage | 0.8 |  |  |  | 2019 | Dokken | Offshore supply vessels, cargo vessels |  |  | Maritime
5.3111 | 60.401 | Norway | Bergen | Comprehensive | 1 |  | 0,400; 0,440; 0,690; | Low Voltage | 0.8 |  |  |  | 2020 | Skolten | Offshore supply vessels |  |  | Maritime
6.7941 | 58.084 | Norway | Farsund |  | 1 |  | 0.44 | Low Voltage |  |  |  |  | 2016 | Lundevågen | Offshore supply vessels |  |  | Maritime
5.2523 | 59.421 | Norway | Haugesund |  | 1 | OSV/Special Service | 0,400; 0,440; 0,460; 0,690; | Low Voltage |  |  |  |  | 2019 | Killingøy Subsea and Offshorebase | Offshore supply vessels and offshore service ships |  |  | Maritime
7.9911 | 58.139 | Norway | Kristiansand | Comprehensive | 1 | Cruise | 6,6; 11 | High Voltage |  |  |  |  | 2018 | Cruise terminal | Cruise ships |  |  | Maritime
10.043 | 59.041 | Norway | Larvik | Comprehensive | 1 | Cruise | 11 | High Voltage | 2.5 |  |  |  | 2016 | Ferry terminal | Passenger vessels |  |  | Maritime
10.227 | 59.126 | Norway | Sandefjord |  | 1 | Cruise | 11 | High Voltage | 6.5 |  |  |  | 2019 | Ferry terminal | Passenger vessels |  |  | Maritime
10.229 | 59.115 | Norway | Sandefjord |  | 1 | Cruise | 11 | High Voltage | 1.8 |  |  |  |  | Framnæs | Passenger vessels |  |  | Maritime
5.7466 | 58.870 | Norway | Sandnes |  | 1 | RO-RO/PAX | 0,400; 0,440; 0,480; 0,600; 0,690; | Low Voltage |  |  |  |  | 2021 | Somaneset | Cargo vessels |  |  | Maritime
10.499 | 59.783 | Norway | Slemmestad |  | 1 | RO-RO/PAX | 0,400; 0,440; | Low Voltage | 2.5 |  |  |  | 2019 | Norcem Slemmestad | General cargo, dry bulk |  |  | Maritime
5.7234 | 58.975 | Norway | Stavanger | Comprehensive | 1 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | Konserthuskaien | Offshore supply vessels and offshore service ships |  |  | Maritime
5.7234 | 58.975 | Norway | Stavanger | Comprehensive | 1 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2019 | Strandkaien | Offshore supply vessels |  |  | Maritime
5.5022 | 59.780 | Norway | Stord |  | 1 | OSV/Special Service | 0,440; 6,90 | Low Voltage |  |  |  |  | 2020 | Nattrutekaien | Offshore supply vessels, live fish carriers, and others |  |  | Maritime
19.140 | 69.747 | Norway | Tromsø |  | 1 | OSV/Special Service | 0,400; 0,690; | Low Voltage |  |  |  |  | 2017 | Grøtsundet | Offshore supply vessels |  |  | Maritime
18.935 | 69.635 | Norway | Tromsø |  | 1 | OSV/Special Service | 0,400; 0,440; 0,690; | Low Voltage |  |  |  |  | 2018 | Lanes terminal | Offshore supply vessels, live fish carriers, and cargo vessels |  |  | Maritime
18.5441390001825 | 54.5328624992349 | Poland | Gdynia | Core | 1 | Cruise | 11 | High Voltage |  | 3 | AC (50Hz or 60Hz) |  | 2023 |  |  |  |  | Maritime
-8.690 | 41.188 | Portugal | Leixoes | Core | 9 | OSV/Special Service | 0.4 | Low Voltage | 0.0825 |  |  |  | 2020 |  | Power meant by connection point |  |  | Maritime and Inland Waterways
28.070928999334 | 45.4371014998812 | Romania | Galaţi | Core | 30 | [7 empty] | 2023 |  | Source: EFIP |  |  | Maritime and Inland Waterways
27.9692600003173 | 45.2471304987953 | Romania | Brăila | Comprehensive | 10 | [12 empty] | Maritime and Inland Waterways
-17.10 | 28.085 | Spain | S. Sebastián de la Gomera | Comprehensive | 1 | RO-RO/PAX | 0.4 | Low Voltage | 0.14 |  |  |  |  | Dique del Este (Fast ferris) |  |  |  | Maritime
-17.10 | 28.084 | Spain | S. Sebastián de la Gomera | Comprehensive | 1 | RO-RO/PAX | 0.4 | Low Voltage | 0.4 |  |  |  |  | Dique del Este (Ro-pax) |  |  |  | Maritime
-16.24 | 28.469 | Spain | Santa Cruz de Tenerife | Core | 1 | RO-RO/PAX | 0.4 | Low Voltage | 1.44 |  |  |  |  | Pantalán Anaga - Ribera |  |  |  | Maritime
-16.24 | 28.469 | Spain | Santa Cruz de Tenerife | Core | 1 | RO-RO/PAX |  | Low Voltage | 1.44 |  |  |  |  | Pantalán Anaga - Dique Este |  |  |  | Maritime
-16.23 | 28.487 | Spain | Santa Cruz de Tenerife | Core | 1 | RO-RO/PAX | 0.4 | Low Voltage | 0.2 |  |  |  |  | Ribera I |  |  |  | Maritime
39.550 | 39.550 | Spain | Palma de Mallorca | Core | 1 | RO-RO/PAX | 0.4 | Low Voltage | [5 empty] | Muelles Paraires - Sur |  |  |  | Maritime
2.6232 | 39.550 | Spain | Palma de Mallorca | Core | 1 | RO-RO/PAX | 11 | High Voltage | 1.6 |  |  |  | 2020 | Muelles Paraires - Norte |  |  |  | Maritime
2.185 | 41.364 | Spain | Barcelona | Core | 1 | Cruise | 6 | High Voltage | 3 |  |  |  | 2020 | Marina 92 |  |  |  | Maritime
2.1690 | 41.362 | Spain | Barcelona | Core | 1 | Cruise | 6 | High Voltage | 3.4 |  |  |  | 2014 | Marina 92 |  |  |  | Maritime
-17.76 | 28.677 | Spain | Santa Cruz de La Palma | Comprehensive | 1 | RO-RO/PAX | 0.4 | Low Voltage |  |  |  |  | 2019 | Pantalán |  |  |  | Maritime
-17.76 | 28.678 | Spain | Santa Cruz de La Palma | Comprehensive | 1 | RO-RO/PAX | 0.4 | Low Voltage | [5 empty] | Pantalán Anaga - Ribera |  |  |  | Maritime
-3.530 | 36.724 | Spain | Motril | Comprehensive | 1 | RO-RO/PAX | 0.42 | Low Voltage | 0.8 |  |  |  | 2018 | Muelle de Costa |  |  |  | Maritime
-2.937 | 35.292 | Spain | Melilla | Comprehensive | 1 | RO-RO/PAX | 0.4 | Low Voltage | 0.8 |  |  |  | 2014 | Terminal de ferries |  |  |  | Maritime
13.1513004997366 | 55.3701049991904 | Sweden | Trelleborg | Core | 6 | RO-RO/PAX | 11 | High Voltage | 4.6 |  |  |  | 2013 |  |  |  |  | Maritime
11.950 | 57.702 | Sweden | Goteborg | Core | 6 | RO-RO/PAX | 6,6; 11 | High Voltage | 2.5 |  |  |  | 2000 |  |  |  |  | Maritime
11.9504705 | 57.7024529993723 | Sweden | Goteborg | Core | 6 | RO-RO/PAX | 6,6; 11 | Low and High Voltage | 2.5 | 2.5 | AC (50Hz or 60Hz) |  | 2000 |  | Shore power available at quays 24, 28-32, 46-49, 600-643, 700, 712. |  |  | Maritime
18.114 | 59.352 | Sweden | Stockholm | Core | 4 | RO-RO/PAX | 11 | High Voltage | 6 |  |  |  | 2019 | Port of Värtahamnen |  |  |  | Maritime and Inland Waterways
18.284 | 57.636 | Sweden | Visby | Comprehensive | 4 | RO-RO/PAX | 11 | High Voltage | 5 |  |  |  | 2019 | Port of Värtahamnen |  |  |  | Maritime
18.096 | 59.316 | Sweden | Stockholm | Core | 2 | RO-RO/PAX | 0.69 | Low Voltage | 4 |  |  |  | 1980 | Port of Stadsgården |  |  |  | Maritime and Inland Waterways
18.13 | 59.345 | Sweden | Stockholm | Core | 2 | RO-RO/PAX | 0.69 | Low Voltage | 4 |  |  |  | 1990 | Port of Frihamnen |  |  |  | Maritime and Inland Waterways
17.956 | 58.904 | Sweden | Stockholm | Core | 1 | RO-RO/PAX | 6.6 | High Voltage | 2 |  |  |  | 2017 | Port of Nynäshamn |  |  |  | Maritime and Inland Waterways
17.9570090004471 | 58.9048664990684 | Sweden | Nynashamm | Comprehensive | 1 | [12 empty] | Maritime
13.826 | 55.425 | Sweden | Ystad | Comprehensive | 1 | Cruise | 11 | High Voltage | 10 |  |  |  | 2013 |  |  |  |  | Maritime
15.5970319997629 | 56.163601499277 | Sweden | Karlskrona | Comprehensive | 1 | Cruise |  | High Voltage |  | 2.5 | AC (50Hz or 60Hz) |  | 2010 |  |  |  |  | Maritime
12.691 | 56.043 | Sweden | Helsingborg | Comprehensive | 1 | RO-RO/PAX | 11 | High Voltage | 4.5 |  |  |  | 2018 | Ferry terminal |  |  |  | Maritime

## LNG Bunkering
Longitude | Latitude | Country | Name | TEN-T | Type of LNG bunkering | Capacity (m3/h) | Storage (m3) | Operational | Location details | Operator | Owner | Comment | URL | Contact | Port type
51.24 | 4.4 | BE | Antwerpen | Core | Port-to-Ship (PTS) |  |  | 2013 | [6 empty] | Maritime and Inland Waterways
4.294 | 51.3113 | BE | Antwerpen | Core | Truck-to-Ship (TTS) |  |  | 2018 | [6 empty] | Maritime and Inland Waterways
3.22 | 51.35 | BE | Zeebrugge | Core |  | 5200 |  |  |  | NYK | Titan LNG | Bunker vessel is based in Zeebrugge, to supply vessels in Zeebrugge and neighbouring ports. The bunker vessel loads LNG at the second jetty of Fluxys' LNG terminal in Zeebrugge. LNG Tank Type: Type C |  |  | Maritime
3.22 | 51.35 | BE | Zeebrugge | Core | Ship-to-Ship (STS) | 75 | 368000 | 2019 |  | Fluxys LNG | Fluxys LNG | Maximum draft: 13. 5th storage tank being built: increased storage capacity of 560,000 m³. Commissioning expected end of 2019 (last status: 10/19 drying inner side of tank). Terminal is able to load (bunker) vessels with a capacity of 1,000m³ - 267 000m³ LNG. Terminal is able to load (bunker) vessels with a capacity of 1,000m³ - 267 000m³ LNG. | https://belgium.fluxys.com/belgium/en/Fluxys%20nearby/CurrentLargeProjects/FifthStorageTankZeebrugge/FifthStorageTank , https://www.fluxys.com/nl/products-services/activities/lng/zeebrugge-vs-dunkirk |  | Maritime
9.17 | 53.89 | DE | Brunsbuettel | Comprehensive | Truck-to-Ship (TTS) |  |  | 2011 |  |  |  | Truck-to-Ship Bunkering Brunsbüttel |  |  | Maritime and Inland Waterways
9.1482 | 53.8978 | DE | Brunsbuettel | Comprehensive | Truck-to-Ship (TTS) |  |  | 2017 |  |  |  | Bunker Station Brunsbüttel |  |  | Maritime and Inland Waterways
7.2016 | 53.3456 | DE | Emden | Comprehensive | Ship-to-Ship (STS) |  | 5800 | 2020 |  | Gasum |  | Gasum offers ship-to-ship bunkering with the Coralius |  |  | Maritime and Inland Waterways
8.13 | 54.04 | DE | Hamburg | Core | Ship-to-Ship (STS) | [6 empty] | Kairos LNG Bunkering vessel |  |  | Maritime and Inland Waterways
9.85 | 53.53 | DE | Hamburg | Core | Port-to-Ship (PTS) |  |  | 2017 |  |  |  | Small-Scale Terminal and Bunker Station Hamburg |  |  | Maritime and Inland Waterways
12.1 | 54.14 | DE | Rostock | Core | Port-to-Ship (PTS) |  |  | 2016 |  |  |  | Bunker Station Rostock |  |  | Maritime
9.97 | 57.59 | DK | Hirtshals | Comprehensive | Port-to-Ship (PTS) |  |  | 2015 |  |  |  | Hirtshals LNG ship bunkering terminal |  |  | Maritime
10.2561 | 55.9117 | DK | Hou | Comprehensive | Port-to-Ship (PTS) | 60 | 50 |  |  | Q8 | Port of Hirtshals / Q8 | LNG is transported 800 kilometres in a custom-built tanker from the Gate terminal in Rotterdam to th | http://www.kosancrisplant.com/media/172624/Samsoe-Ferry-Fuelled-by-LNG-Maskinmesteren-Sept2015-.pdf | Lars Sall Lhs@kosancrisplant.com | Maritime
24.99 | 59.5 | EE | Tallinn | Core | Port-to-Ship (PTS) | [6 empty] | Tallinn LNG bunkering |  |  | Maritime
-5.4469 | 36.1347 | ES | Bahía de Algeciras | Core | Ship-to-Ship (STS) |  |  | 2023 |  |  |  | 12.500 m3 dedicated vessel, available by 2023 |  |  | Maritime
2.1691 | 41.3621 | ES | Barcelona | Core | Ship-to-Ship (STS) |  | 6000 | 2019 |  |  |  | Coral Methane vessel |  |  | Maritime
2.1691 | 41.3621 | ES | Barcelona | Core | Ship-to-Ship (STS) |  |  | 2019 |  |  |  | The Cardissa LNG supplied from ENAGAS’s Barcelona regas terminal Naturgy has announced that it has commissioned an LNG bunkering vessel to support the 10-year liquefied natural gas (LNG) supply deal it agreed in January 2018 with shipping company Baleària |  |  | Maritime
2.1691 | 41.3621 | ES | Barcelona | Core | Truck-to-Ship (TTS) | 91 |  | 1969 |  | Enagás | Enagás, Reganosa | Barcelona LNG terminal 3 truck filling stations with 91 m³/h capacity each. New initiatives at the port include the adaptat Limitations: Maximum draft: 15 m. No. of jetties: 2 | http://www.enagas.es/stfls/ENAGAS/Documentos/Folleto_plantas%20de%20regasificacion_EN_(WEB)2014.pdf |  | Maritime
2.1691 | 41.3621 | ES | Barcelona | Core | Port-to-Ship (PTS) |  |  | 2019 |  |  |  | Available, compatibility check needed |  |  | Maritime
-3.0776 | 43.3521 | ES | Bilbao | Core | Port-to-Ship (PTS) | 27 |  | 2018 |  | BBG | BBG | Bilbao terminal can bunker/load vessels with LNG capacities ranging from 600 m³ to 270,000 m³ Limitations: Maximum draft: 20 m; No. of jetties: 1 | http://www.gie.eu/index.php/maps-data/lng-map |  | Maritime
-0.9906 | 37.5894 | ES | Cartagena | Core | Port-to-Ship (PTS) | 91 |  | 2018 |  | Enagás | Repsol, Reganosa | 3 truck filling stations with 91 m³/h capacity each. Limitations: Maximum draft: 15 m; No. of jetties: 2 | http://www.enagas.es/stfls/ENAGAS/Documentos/Folleto_plantas%20de%20regasificacion_EN_(WEB)2014.pdf |  | Maritime
-8.25 | 43.5 | ES | Ferrol | Comprehensive | Ship-to-Ship (STS) |  | 10000 | 2023 | Murgados | Reganosa |  |  |  |  | Maritime
-6.94 | 37.2664 | ES | Huelva | Core | Port-to-Ship (PTS) | 91 |  | 2019 |  | Enagás | Port Authority of Huelva, Enagás | Bunker ship loading planned (as part of CORE LNGas hive project). Limitations: Maximum draft: 12 m; No. of jetties: 1 3 truck filling stations with 91 m³/h capacity each. | http://www.enagas.es/stfls/ENAGAS/Documentos/Folleto_plantas%20de%20regasificacion_EN_(WEB)2014.pdf |  | Maritime
-6.94 | 37.2664 | ES | Huelva | Core | Ship-to-Ship (STS) |  |  | 2019 |  |  |  | LNG bunkering ship Oizmendi |  |  | Maritime
-6.94 | 37.2664 | ES | Huelva | Core | Multitruck to Ship (MTTS) |  |  | 2019 | [6 empty] | Maritime
-8.23 | 43.46 | ES | Ferrol | Comprehensive | Port-to-Ship (PTS) | 75 | 300000 | 2007 |  | Reganosa | Reganosa | By February 2018: Adaptation of the existing jetty of the terminal as a short term solution to allow the LNG supply to bunker and feeder vessels (under development). Second jetty to guarantee the continuity of supply in the mid-long term. Minimum ship size for bunkership is 7,500m³. 2 truck filling stations with 75 m³/h capacity each. | http://www.reganosa.com/en/lng-terminal-0 | Laurent Moriceau lmoriceau@reganosa.com | Maritime
-0.21415 | 39.6501 | ES | Sagunto | Comprehensive | Port-to-Ship (PTS) | 70 |  | 2006 |  | Saggas | Saggas | 2 truck filling stations with 70 m³/h capacity each. Bunker ship loading under study. | http://www.gie.eu/index.php/maps-data/lng-map |  | Maritime
-3.808 | 43.4554 | ES | Santander | Comprehensive | Port-to-Ship (PTS) | [6 empty] | Available by 2022 |  |  | Maritime
-16.2342 | 28.48 | ES | Tenerife |  | Ship-to-Ship (STS) |  |  | 2018 |  |  |  | Cardissa, Coral Methane, Engie Zeebruge vessels |  |  | Maritime
-0.31 | 39.42 | ES | Valencia | Core | Port-to-Ship (PTS) | [6 empty] | Available by 2020 |  |  | Maritime
-0.31 | 39.42 | ES | Valencia | Core | Multitruck to Ship (MTTS) |  |  | 2019 |  |  |  | Gas Natural Fenosa announced that it will be developing bunkering infrastructure to support the 10-year liquefied natural gas (LNG) supply deal it agreed in January 2018 with shipping company Baleària. |  |  | Maritime
24.92 | 60.15 | FI | Helsinki | Core | Truck-to-Ship (TTS) |  |  | 2014 | [6 empty] | Maritime
24.92 | 60.15 | FI | Helsinki | Core | Ship-to-Ship (STS) |  |  | 2014 |  |  |  | the Kairos offers STS bunkering |  |  | Maritime
21.49 | 61.59 | FI | Pori | Comprehensive | Port-to-Ship (PTS) | 50 (Truck loading); 300 (Tank to ship bunkering) | 30000 | 2016 | Pori LNG terminal | Gasum | Gasum |  | http://gasum.com |  | Maritime
24.3 | 65.79 | FI | Tornio | Comprehensive | Port-to-Ship (PTS) |  | 50000 | 2019 | Manga LNG terminal Tornio | Manga LNG, Gasum | Outokumpu | Tornio | http://www.torniomangalng.fi/en/hankkeen-esittely/ |  | Maritime
-4.4857 | 48.3809 | FR | Brest | Comprehensive | Port-to-Ship (PTS) |  |  | 2019 |  | Titan LNG | Port of Brest | The Dutch service supplier of liquefied natural gas, Titan LNG in cooperation with Port of Brest, CCIMBO and DEME have completed the first truck-to-ship LNG bunkering in the Port of Brest to the hopper dredger Scheldt River. | https://www.lngworldnews.com/titan-lng-bunkers-demes-scheldt-river-at-port-of-brest/?utm_source=lngworldnews&utm_medium=email&utm_campaign=newsletter_2019-12-24 |  | Maritime
2.19 | 51.04 | FR | Dunkerque | Core | Ship-to-Ship (STS) | 1 | 600000 | 2017 |  | Dunkerque LNG | Dunkerque LNG | Jetty was modified to be able to berth small scale LNGCs and bunker vessels, with a capacity of 5,000-cbm. Planned expansion 1 truck loading station in construction. Limitations: Maximum draft: 19 m. No. of jetties: 1 and more. | https://www.offshore-energy.biz/dunkerque-lng-adapts-jetty-for-small-scale-lng-carriers/ | commercial@dunkerquelng.com | Maritime and Inland Waterways
0.13191 | 49.4929 | FR | Le havre | Core | Truck-to-Ship (TTS) |  |  | 2016 |  | Shell |  | Weekly call of Aida Prima cruise ship. Cold ironing operation |  |  | Maritime and Inland Waterways
4.9005 | 43.4268 | FR | Marseille - Fos-sur-Mer | Core | Truck-to-Ship (TTS) | 100 (3 X 100 m³/h planned) |  | 1972 | Fos Tonkin LNG terminal, Marseilles | Elengy | Elengy | Limitations: Maximum draft: 12 m; No. of jetties: 1 Minimum ship size for bunkership is 5,000m³. | http://www.gie.eu/index.php/maps-data/lng-map |  | Maritime and Inland Waterways
4.9 | 43.42 | FR | Marseilles | Core | Truck-to-Ship (TTS) | 100 |  | 2010 | Fos Cavaou LNG terminal | Elengy | Fosmax LNG | Limitations: Maximum draft: 15 m; No. of jetties: 1 By 2020, increased storage capacity to 550 000m³ (4/5 tanks). Loading of smaller bunker vessels under study (with min. ship size 5,000m³). Minimum ship size for bunkership is 15,000m³. | http://www.hydrocarbons-technology.com/projects/fos-cavaou-lng-terminal-fos-sur-mer/ |  | Maritime
4.84 | 43.45 | FR | Marseilles | Core | Ship-to-Ship (STS) |  |  | 2018 |  | Molgas |  | Currently Truck-to-Ship for weekly call of Aida Perla cruise ship. Cold ironing operation Ship-to-Ship under negotiation for LNG fuelled cruise ships and ferries to Corsica |  |  | Maritime
-2.14 | 47.31 | FR | Montoir-de-Bretagne |  | Ship-to-Ship (STS) | 100 | 550000 | 1980 |  | Elengy | Elengy | By 2020, increased storage capacity to 550,000m³ (4 tanks). Bunker ship loading of smaller vessels (with min. ship size of 5,000 m³ LNG under study). Expansion of truck loading planned (3 X 100m³/h). Limitations: Maximum draft: 13 m; No. of jetties: 1. Minimum ship size for bunkership is 20,000m³. | http://www.gie.eu/index.php/maps-data/lng-map |  | Maritime
9.8319 | 44.1075 | IT | La spezia | Core | Ship-to-Ship (STS) |  | 7551 | 2020 |  | Shell |  | Coral Methane bunkered Carnival Corporations Costa Smeralda |  |  | Maritime
12.2526 | 44.4619 | IT | Ravenna | Core | Truck-to-Ship (TTS) |  | 20000 | 2021 |  |  | DIG - Depositi Italiani GNL | DIG - Depositi Italiani GNL (51% PIR - 49% Edison) DIG - Depositi Italiani GNL | Edison SPA | Valentina Infante sslng@edison.it | Maritime and Inland Waterways
11.77 | 42.1 | IT | Civitavecchia |  | Truck-to-Ship (TTS) |  |  | 2014 |  |  |  | Civitavecchia |  |  | Maritime
12.2481 | 44.4717 | IT | Santa Giusta LNG Terminal |  | Port-to-Ship (PTS) |  | 9000 | 2021 | Port of Oristano | HIGAS | HIGAS (Avenir LNG, 80%, Gas and Heat, 10%, and CPL Concordia, 10%) | LNG used for regasification and bunkering services. Higas is a joint venture between two Italian partners (Gas & Hit and CPL Concordia) and Avenir LNG. Reganosa to operate and maintain the LNG terminal. The facility will feature a jetty capable of receiving LNG vessels of up to 20 000 cubic metres (cbm) in capacity, an unloading arm, six horizontal cryogenic holding tanks, two LNG truck loading bays, and a natural gas captive power generation system. The terminal will be capable of loading around 8,000 LNG trucks a year. | https://avenirlng.com/terminals/ |  | Maritime
21.1 | 55.72 | LT | Klaipeda | Core | Port-to-Ship (PTS) | 100 (truck loading); 500 (tank to ship) | 5000 | 2017 |  | Klaipedos nafta AB | Klaipedos nafta AB | A possibility of expanding the capacity of the station up to 10,000 cubic meters in the future has been foreseen. | https://www.kn.lt/en/our-activities/lng-terminals/klaipeda-small-scale-lng-terminal/560 | info@kn.lt | Maritime
4.81 | 52.4 | NL | Amsterdam | Core | Truck-to-Ship (TTS) |  |  | 2013 |  |  |  | Truck-to-ship bunkering Amsterdam |  |  | Maritime and Inland Waterways
4.77 | 52.41 | NL | Amsterdam | Core | Truck-to-Ship (TTS) |  |  | 2013 |  |  |  | Amerikahaven, groene kade |  |  | Maritime and Inland Waterways
4.77 | 52.42 | NL | Amsterdam | Core | Barge-to-ship |  |  | 2019 |  |  |  | Amerikahaven (Titan) |  |  | Maritime and Inland Waterways
4.59 | 51.69 | NL | Moerdijk |  | Truck-to-Ship (TTS) |  |  | 2014 |  |  |  | Truck-to-ship Bunkering Moerdijk |  |  | Maritime and Inland Waterways
4.5 | 51.9167 | NL | Rotterdam | Core | Truck-to-Ship (TTS) | 100 |  | 2018 |  | Gasunie / VOPAK | GATE terminal | By 2018: Increased storage capacity to 720,000 m³ (4 tanks). Rail loading under study. Maximum draft: 14 m. No. of jetties: 3 | http://www.gate.nl |  | Maritime and Inland Waterways
4.02 | 51.97 | NL | Rotterdam | Core | Ship-to-Ship (STS) |  |  | 2017 |  |  |  | Cardissa Shell bunker vessel |  |  | Maritime and Inland Waterways
4.24 | 51.88 | NL | Rotterdam | Core | Port-to-Ship (PTS) |  |  | 2013 |  |  |  | Rotterdam LNG24 fuel loading ship |  |  | Maritime and Inland Waterways
4.13 | 51.94 | NL | Rotterdam Europoort |  | Port-to-Ship (PTS) |  |  | 2015 |  |  |  | Rotterdam BominLinde fuel loading ship |  |  | Maritime and Inland Waterways
5.0162 | 60.4146 | NO | Ågotnes |  | Port-to-Ship (PTS) |  |  | 2004 |  |  |  | Agotnes fuel loading ship |  |  | Maritime
5.27 | 59.34 | NO | Avaldsnes |  | Port-to-Ship (PTS) |  |  | 2004 | [6 empty] | Maritime
5.3116 | 60.401 | NO | Bergen | Comprehensive | Ship-to-Ship (STS) |  |  | 2009 |  |  |  | Coral Methane (LNG Carrier) |  |  | Maritime
9.72 | 63.85 | NO | Bjugn |  | Port-to-Ship (PTS) | [9 empty] | Maritime
14.38 | 67.29 | NO | Bodo |  | Port-to-Ship (PTS) | [6 empty] | Bodo |  |  | Maritime
5.07 | 61.61 | NO | Floro |  | Port-to-Ship (PTS) |  |  | 2003 |  |  |  | Floro fuel loading ship (bunkering) |  |  | Maritime
10.96 | 59.19 | NO | Fredrikstad |  | Port-to-Ship (PTS) |  |  | 2014 | [6 empty] | Maritime
5.42 | 60.14 | NO | Halhjem |  | Port-to-Ship (PTS) |  |  | 2007 |  |  |  | Halhjem LNG storage |  |  | Maritime
23.6 | 70.68 | NO | Hammerfest |  | Port-to-Ship (PTS) |  |  | 2017 |  |  |  | Melkøya island |  |  | Maritime
5.27 | 59.4 | NO | Haugesund |  | Ship-to-Ship (STS) |  |  | 2004 |  |  |  | Pioneer Knutsen (LNG carrier) |  |  | Maritime
5.3 | 60.52 | NO | Hordvikneset | Comprehensive | Port-to-Ship (PTS) |  |  | 2009 |  |  |  | Hordvikneset LNG storage |  |  | Maritime
30.04 | 69.74 | NO | Kirkenes |  | Port-to-Ship (PTS) | [6 empty] | Kirkenes |  |  | Maritime
4.86 | 60.71 | NO | Kollsnes |  | Port-to-Ship (PTS) |  |  | 2003 |  |  |  | Kollsnes LNG I |  |  | Maritime
4.94 | 60.73 | NO | Kollsnes |  | Port-to-Ship (PTS) |  |  | 2007 |  |  |  | Kollsnes LNG II |  |  | Maritime
7.77 | 63.1 | NO | Kristiansund |  | Port-to-Ship (PTS) | [6 empty] | Kristiansund fuel loading ship |  |  | Maritime
15.99 | 68.41 | NO | Lodingen |  | Port-to-Ship (PTS) | [6 empty] | Lodingen |  |  | Maritime
12.75 | 68.41 | NO | Moskenes |  | Port-to-Ship (PTS) | [6 empty] | Moskenes |  |  | Maritime
5.28 | 60.1 | NO | Os |  | Port-to-Ship (PTS) | [6 empty] | Os fuel loading ship |  |  | Maritime
23.66 | 70.64 | NO | Polarbase |  | Port-to-Ship (PTS) | [9 empty] | Maritime
12.63 | 66.02 | NO | Sandnessjoen |  | Ship-to-Ship (STS) | [6 empty] | Sandnessjoen |  |  | Maritime
23.6 | 70.69 | NO | Snovhit, Hammerfest |  | Port-to-Ship (PTS) | [6 empty] | Snovhit, Hammerfest |  |  | Maritime
5.58 | 58.93 | NO | Stavanger |  | Port-to-Ship (PTS) |  |  | 2011 |  |  |  | Risavika (Stavanger) LNG plant |  |  | Maritime
18.682 | 54.4023 | PL | Gdansk | Core | Truck-to-Ship (TTS) |  |  | 2016 |  | PGNiG Retail Branch |  |  |  |  | Maritime
18.5441 | 54.5329 | PL | Gdynia | Core | Truck-to-Ship (TTS) |  |  | 2016 |  | PGNiG Retail Branch |  |  |  |  | Maritime
14.5664 | 53.4187 | PL | Szczecin | Core | Truck-to-Ship (TTS) |  |  | 2016 |  | PGNiG Retail Branch |  |  |  |  | Maritime and Inland Waterways
-8.84 | 37.94 | PT | Sines | Core | Ship-to-Ship (STS) | 65 |  |  |  | REN Atlantico | REN Atlantico | 3 truck filling stations with 65 m³/h capacity each. Bunker ship loading is available for LNG bunker Limitations: Maximum draft: 14 m; No. of jetties: 1 | http://www.gie.eu/index.php/maps-data/lng-map | Paulo Mestre paulo.mestre@ren.pt | Maritime
11.94 | 57.7 | SE | Goteborg | Core | Ship-to-Ship (STS) |  |  | 2017 | Gothenburg LNG terminal (Skarvikshamnen) | Swedegas | Swedegas, Vopak, Port of Gothenburg | LNG supplied by Gasum and Swedegas | http://www.lnggothenburg.com/ | Thomas Lundkvist tomas.lundkvist@swedegas.se | Maritime
17.957 | 58.9049 | SE | Nynashamm | Comprehensive | Truck-to-Ship (TTS) | 75 | 20000 | 2011 | Nynäshamn LNG terminal | AGA | AGA | 2 truck filling stations with 75 m³/h capacity each. Mainly used for distributing LNG to various mun | http://bominlinde.com/lng-terminal-nynaeshamn |  | Maritime
18.09 | 59.31 | SE | Stockholm | Core | Ship-to-Ship (STS) |  |  | 2013 |  |  |  | Bunkering vessel Seagas |  |  | Maritime and Inland Waterways
-5.36 | 36.14 | UK | Gibraltar |  | Ship-to-Ship (STS) |  | 5000 | 2015 | Port of Gibraltar | Gasnor (Shell) |  | LNG used to feed a new dual-fuel power station. Also LNG bunkering is being evaluated. LNG will be sourced from the Gibraltar LNG regas terminal Shell won an LNG Bunkering licence in February 2021. Ship-to-Ship bunker was conducted by Titan LNG in Gibraltar waters – the Panamanian Semi Submersible Crane Vessel, Sleipnir was bunkered with 3,200 tonnes of LNG from the LNG carrier Coral Fraseri in September 2019. | http://www.shell.com/business-customers/trading-and-supply/trading/news-and-media-releases/agreement-for-lng-supply-and-terminal.html |  | Maritime